This Checklist should be used by facilities that are considering installing a temporary pool, as well as those who are installing them. The Checklist should be completed before entering into any contractual agreement.

| Venue / School: |  |
| --- | --- |
| Completed by: |  |
| Date completed: | Click or tap to enter a date. |

| 1. General |  |  |  |
| --- | --- | --- | --- |
| 1.1 Is the pop-up pool provider a limited company? |  |  |  |
| 1.2 Are you able to check references from other academic establishments? |  |  |  |
| 1.3 Does the installer have public liability insurance to a minimum of £5m? |  |  |  |
| 1.4 Does the installer have employee liability insurance to a minimum of £5m? |  |  |  |
| 1.5 Have you contacted your own insurance company to ensure you are covered for this activity onsite? |  |  |  |
| 1.6 Has the LEA and your local Environmental Health Officer been informed of the facility being on site? |  |  |  |
| 1.7 Does the organisation comply with HSE Managing Safety in Swimming Pools? |  |  |  |
| 1.8 Does the organisation comply with PWTAG Technical Note 65? |  |  |  |
| 1.9 Does the above ground temporary pool intend to be hired out, outside of academic use? |  |  |  |

| 2. Risk Assessments |  |  |  |
| --- | --- | --- | --- |
| 2.1 Can the installer provide copies of the Risk Assessments for all their activities covering the following as a minimum? - Fire - Security - Water quality - Drowning - Power/lighting failure - Serious injury - Entrapment |  |  |  |
| 2.2 Can the installer provide copies of Risk Assessments for the swimming pool plant, which includes? - Delivery and transportation of chemicals - Handling and storage of chemicals - Dosing of chemicals |  |  |  |

| 3. Pool Safety Operating Procedures |  |  |  |
| --- | --- | --- | --- |
| 3.1 Can they provide a site-specific Normal Operating Procedure and Emergency Action Plan covering the activities onsite? |  |  |  |
| 3.2 Are rescue aids provided around the pool? |  |  |  |
| 3.3 Is each class supervised by a qualified person for supervision (this can be the swimming instructor when not teaching within the water) with either an RLSS UK National Rescue Award for Swimming Teachers and Coaches or the STA Safety Teachers Award or Pool Lifeguard? |  |  |  |
| 3.4 Can the installer provide a copy of the company’s safeguarding policy? |  |  |  |
| 3.5 Is the installer compliant with the safeguarding policy and also the schools safeguarding policy? |  |  |  |
| 3.6 Has the installer completed a first aid needs assessment and is there adequate first aid cover during swimming lessons / activities? |  |  |  |
| 3.7 Is there a first aid kit provided and checked on a weekly basis? |  |  |  |
| 3.8 Does the installer have a sickness policy to ensure children are excluded from the water if they unwell (eg sickness or diarrhoea)? |  |  |  |

| 4 Pool Technical Operating Procedure (PTOP) |  |  |  |
| --- | --- | --- | --- |
| 4.1 Does the provider have a PTOP? |  |  |  |
| 4.2 Do they have emergency procedures for blood, vomit, faeces and diarrhoea incidents that are PWTAG compliant? |  |  |  |

| 5 Water Testing |  |  |  |
| --- | --- | --- | --- |
| 5.1 Is there a trained and competent person on site to complete the water testing? |  |  |  |
| 5.2 Is water testing undertaken prior to the first lesson of the day and every two hours thereafter? |  |  |  |
| 5.3 Does testing equipment use a photometer which is calibrated annually? |  |  |  |
| 5.4 Is there a set of water testing parameters displayed, that are in line with the PWTAG Code of Practice:- Free chlorine: 0.75mg/l – 3.0mg/l (if using a hypochlorite disinfectant) or 5.0mg/l – 8.0mg/l (if using a chlorinated iso-cyanurate disinfectant). pH: 7.0 – 7.4: (ideally 7.0 – 7.2) |  |  |  |
| 5.5 Is the Langeiler Saturation Index test completed on a weekly basis? |  |  |  |
| 5.6 Which water treatment chemicals are being used, and which are kept on site? |  |  |  |
| 5.7 Are the test results avaliable/passed to the school, every day? |  |  |  |
| 5.8 Are pool testing records available at the school and stored for a minimum of five years? |  |  |  |
| 5.9 Has a satisfactory microbiological test report been received prior to the pool being used, for TVC 37, coliforms, E.coli and Pseudomonas aeruginosa? |  |  |  |
| 5.9.1 Is microbiological testing completed every calendar month testing for TVC 37, coliforms, E.coli and Pseudomonas aeruginosa? |  |  |  |

| 6 Pool Plant and Filtration |  |  |  |
| --- | --- | --- | --- |
| 6.1 Has the maximum bather load been calculated taking into account the filtration, depth and surface area of the pool? |  |  |  |
| 6.2 Is the rate of flow recorded daily (m³/hr)? |  |  |  |
| 6.3 What is the current turnover period (hrs)? |  |  |  |
| 6.4 Is the backwash being completed on a regular schedule at least weekly? |  |  |  |

| 7 Water Supply and Drainage |  |  |  |
| --- | --- | --- | --- |
| 7.1 Have you contacted the Environment Agency to discuss supply and drainage of the swimming pool? |  |  |  |
| 7.2 Have you read the Environment Permitting Regulations 2010 and 2016, relating to the discharge of swimming pool water? The EA’s preferred disposal route is to foul sewer. |  |  |  |

| 8 Control of Substances Hazardous to Health (COSHH) |  |  |  |
| --- | --- | --- | --- |
| 8.1 Can they provide all COSHH assessments and Safety Data Sheets for all hazardous substances in advance of setting up the pool? |  |  |  |
| 8.2 Have employees been site specifically trained on how to handle and dose chemical(s) into the swimming pool? |  |  |  |
| 8.3 Are chemicals being stored securely and in a lockable container? |  |  |  |
| 8.4 Are acids and alkalis being stored separately? |  |  |  |
| 8.5 Does the Emergency Action Plan cover chemical spillage and emission of toxic gas? |  |  |  |

| 9 Personal Protective Equipment |  |  |  |
| --- | --- | --- | --- |
| 9.1 Is PPE provided for individual employees and appropriate to the chemicals handled? |  |  |  |

| 10 Qualifications |  |  |  |
| --- | --- | --- | --- |
| 10.1 Does each swimming teacher hold a Level 2 swimming teaching qualification as a minimum? |  |  |  |
| 10.2 Is the employee qualified in accordance with the PWTAG SPTO syllabus, and has been trained to deal with the on-site chemicals, pool plant and test water. |  |  |  |

| 11 Marquee Housing/Structure |  |  |  |
| --- | --- | --- | --- |
| 11.1 Is the marquee housing/structure constructed via a MUTA (trade association for marquees, tents and structures) member organisation? |  |  |  |
| 11.2 Has a Tempoary Demountable Structure (TDS) risk assessment taken place? https://www.hse.gov.uk/event-safety/temporary- demountable-structures.htm |  |  |  |
| 11.3 Is the structure fire resistant? |  |  |  |
| 11.4 Have weather conditions been considered such as rain, snow, wind speed, lightening etc? |  |  |  |

| 12 Safety and Security |  |  |  |
| --- | --- | --- | --- |
| 12.1 Can the building be secured and locked to prevent unauthorised access from children and trespassers? |  |  |  |

| 13 Electrical Requirements |  |  |  |
| --- | --- | --- | --- |
| 13.1 Has the provider ensured they comply with the electrical requirements in line with the Institution of Engineering and Technology (IET) Wiring Regulations BS 7671 - 18th Edition (theiet.org) and guidance note three of the regulations? |  |  |  |